Schedule C – FORM OF PROPOSAL

RFP Project Title:	SYNTHETIC TURF FIELD REPLACEMENT - TAMANAWIS PARK

RFP Reference No.:	1220-030-2019-015

Legal Name of Proponent:

Contact Person and Title:

Business Address:

Business Telephone:

Business Fax:

Business E-Mail Address:

TO:

City Representative: 	Richard D. Oppelt, Purchasing Manager

Address:	Surrey City Hall

Finance Department – Purchasing Section

Reception Counter, 5th Floor West

13450 – 104 Avenue, Surrey, BC, V3T 1V8, Canada

Email for PDF Files:	purchasing@surrey.ca

Dear Sir:

- I/We, the undersigned duly authorized representative of the Proponent, having received and carefully reviewed all of the Proposal documents, including the RFP and any issued addenda posted on the City Website and BC Bid Website, and having full knowledge of the Goods and Services required, and having fully informed ourselves as to the intent, difficulties, facilities and local conditions attendant to performing the Goods and Services, submit this Proposal in response to the RFP.

- I/We confirm having full knowledge that the City reserves the right to divide up the Goods and Services by type of work, or other basis as the City may decide, and to select one or more Preferred Proponents to enter into discussions with the City for one or more agreements to perform a portion or portions of the Goods and Services.

3.0	I/We confirm that the following schedules are attached to and form a part of this Proposal:

Schedule C-1 – Statement of Departures;

Schedule C-2 – Proponent’s Experience, Reputation and Resources;

Schedule C-3 – Proponent’s Technical Proposal (Services);

Schedule C-4 – Proponent's Technical Proposal (Time Schedule); and

Schedule C-5 – Proponent’s Financial Proposal.

4.0	I/We confirm that this proposal is accurate and true to best of my/our knowledge.

5.0	I/We confirm that, if I/we am/are awarded the agreement, I/we will at all times be the “prime contractor” as provided by the Worker's Compensation Act (British Columbia) with respect to the Goods and Services.  I/we further confirm that if I/we become aware that another contractor at the place(s) of the Goods and Services has been designated as the “prime contractor”, I/we will notify the City immediately, and I/we will indemnify and hold the City harmless against any claims, demands, losses, damages, costs, liabilities or expenses suffered by the City in connection with any failure to so notify the City.

This Proposal is submitted by this ____ day of ____________, 2019.

I/We have the authority to bind the Proponent.

| ________________________________________ (Legal Name of Proponent) _________________________________________ (Signature of Authorized Signatory) _________________________________________ (Print Name and Position of Authorized Signatory) | ________________________________________ (Signature of Authorized Signatory) ________________________________________ (Print Name and Position of Authorized Signatory) |
| --- | --- |

SCHEDULE C-1 - STATEMENT OF DEPARTURES

1.	I/We have reviewed the proposed agreement attached to the RFP as Schedule “B”.  If requested by the City, I/we would be prepared to enter into that agreement, amended by the following departures (list, if any):

Section			Requested Departure(s) / Alternative(s)

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

2.	The City of Surrey requires that the successful Proponent have the following in place before commencing the Services:

(a)	Workers’ Compensation Board coverage in good standing and further, if an 	“Owner Operator” is involved, personal operator protection (P.O.P.) will be 	provided,

Workers' Compensation Registration Number ___________________________;

(b)	Prime Contractor qualified coordinator is Name: ________________ and Contact Number: _________________________;

(c)	Insurance coverage for the amounts required in the proposed agreement as a 	minimum, naming the City as additional insured and generally in compliance with 	the City’s sample insurance certificate form available on the City’s Website 	at www.surrey.ca search Standard Certificate of Insurance;

(d)	City of Surrey or Intermunicipal business license Number:  ________________;

(e)	If the Proponent's Goods and Services are subject to GST, the Proponent's GST Number is _____________________________________; and

(f)		If the Proponent is a company, the company name indicated above is registered 	with the Registrar of Companies in the Province of British Columbia, Canada, 	Incorporation Number ___________________________________.

As of the date of this Proposal, we advise that we have the ability to meet all of the above requirements except as follows (list, if any):

Section			Requested Departure(s) / Alternative(s)

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

3.	I/We offer the following alternates to improve the Services described in the RFP (list, if any):

Section			Requested Departure(s) / Alternative(s)

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

4.	The Proponent acknowledges that the departures it has requested in Sections 1, 2 and 3 of this Schedule C-1 will not form part of the agreement unless and until the City agrees to them in writing by initialling or otherwise specifically consenting in writing to be bound by any of them.

- end of page -

SCHEDULE C-2 - PROPONENT’S EXPERIENCE, REPUTATION AND RESOURCES

The Corporate Performance Proposal shall apply to all/any of the different synthetic turf Products for which the Proponent submits financial and technical proposals.

Proponents should provide the following information with respect to their corporate performance relating to the supply and installation of synthetic turf fields. This information will be used to evaluate the Proponent’s past performance and ability to deliver the work included in this RFP.

## C.2.1	Proponent’s Ability to Back the Warranty

Describe the manner in which the Proponent proposes to back the Warranty to be provided under the terms of this RFP.  Indicate the approximate value of work (or sales, as applicable) completed by the Proponent for each of the past three (3) years.

## C.2.2	Proponent’s History Relating to Synthetic Fields

Provide the Proponent’s history with particular reference to experience with the supply and installation of synthetic turf fields, including the total number of fields installed.  A list of fields installed over the past ten (10) years should also be provided.

Provide the details of the company responsible for recycling of the synthetic turf system (including fibre, backing and infill).  Indicate how the recycled materials will be recycled and finally repurposed.  Provide details of chain of custody controls and corporate recycling certifications.

## C.2.3	Proponent’s Installation Crew Qualifications

Provide a resume describing the qualifications for each installation crew member that will be assigned to the Project.

## C.2.4	Proponent’s Installation Crew’s Superintendent’s Qualifications

Provide a resume for the proposed superintendent of the installation crew giving details on qualifications and experience relating to the installation of synthetic turf fields including descriptions of synthetic turfs installed. Provide names and telephone numbers of references for the proposed superintendent.

## C.2.5	Proponent’s Installation Performance Record

Provide the following information for the Proponent’s past five installations (minimum):

- Location

- Type and size of installation (turf product)

- Date of installation

- Owner

- Purpose / use of fields

- Contact name for owner / operator with telephone number

Proponents should provide at least three project references for each different turf product for which a Proposal is submitted.  Provide the details of any outstanding unresolved construction claims or any active legal action(s) filed against the Proponent related to past or current synthetic field installations.

## C.2.6	Number of Installation Crews

Provide the Proponent’s number of installation crews that will be made available to the City and identify their availability for this Project. Describe the resources the Proponent will apply to allow turf installation to meet the Project schedule.

Provide the name of each crew member, an overview of their experience and their normal base of operations (ie. Corporation, Province/State).

## C.2.7	Proponent’s Post-Installation Support

Describe the post-installation support which will be provided.  Provide the details of any permanent local post-installation support personnel.

Provide details of the company’s typical response time for follow-up service calls including the location of the nearest service centre to the Project.  Indicate whether the City would incur travel expenses for out-of-warranty service requests.  Provide the hourly cost for out-of-warranty work, indicating whether travel time and lodging costs will be charged.  Provide a base estimate for out-of-warranty turf repair work assuming an eight hour repair and current travel/lodging/other costs.

## C.2.8	Proponent’s Production Capabilities

Describe the Proponent’s production capabilities and their ability to meet the Project schedule.

- end of page -

Schedule C-3 – PROPONENT’S TECHINCAL PROPOSAL (SERVICES);

Separate Product Technical Proposals are required for each different Product for which the Proponent is submitting a Proposal.  The Product Technical Proposal should also include two samples of each synthetic turf product proposed.

## C.3.1	Technical Product Data

For each synthetic turf product for which a price is provided in the Proposal Form and Schedule of Prices, the Proponent is to complete a technical product data sheet. A blank copy of the technical product data sheet is attached in Appendix C1.

## C.3.2	Basic Product Requirements

The following key minimum qualities have been identified as best meeting the needs of the City.  Proponents are to include at least one product that meets the key requirements indicated below. Alternative turf products may be submitted for consideration, if desired.

- The synthetic turf system (turf and elastic layer) is to be manufactured and supplied by an International Hockey Federation Preferred Supplier, as defined in the FIH’s ‘Quality Programme for Hockey Turf’.

- The synthetic surfacing system is to meet the International Hockey Federation (‘FIH’) ‘Global’ standard performance requirements, as defined per FIH Hockey Turf and Field Standards under http://www.fih.ch/inside-fih/fih-quality-programme-for-hockey-turf/facility-guidance-resources /

- The paved-in place (in-situ) elastic layer shall be at minimum thickness listed on FIH Global approved products list as per submitted product.

- Post construction FIH testing and certification to Global Classification will be required.

- All adhesives used in bonding the system together shall be resistant to moisture, bacterial and fungus attacks, and resistant to ultraviolet rays at any location upon installation.

Please refer to the Performance Specifications for a full description.

## C.3.3	Seam and Inlaid Line Details

Describe the seaming and inlaid line joining and construction details including:

- Turf roll joining method (seams sewn, cemented, etc.).

- Width of seam overlap.

- Inlaid line joining method.

## C.3.4	Operation and Maintenance Procedures

- Describe the general operations and maintenance procedures for each turf type included in the Proposal.

- Identify any special operations and maintenance equipment required.

## C.3.5	Sport Association Accreditation

Proponents are to submit documentation for each type of turf indicating any association accreditation for any specific sports activities (such as FIH, FIFA, IRB, etc.). The documentation is to provide the name of the association, the exact name and description of the turf for which accreditation has been obtained and an association contact name, address and telephone number to permit verification.

## C.3.6	Patent Infringement Concerns

Proponents are to submit documentation confirming that their turf product does not infringe any existing or pending Canadian patent.  Provide the details of any outstanding unresolved patent infringement claims or any active legal action(s) filed against the Proponent or against the owner of a past or current synthetic field installation supplied or installed by the Proponent. Provide the details (where legally permitted to do so) of the outcome of any resolved past patent infringement claims.

## C.3.7	Warranty

- Confirm that the eight (8) year Warranty with the terms and conditions exactly as specified in the RFP will be provided.

- Indicate if the Proponent has any outstanding warranty claims that have not been resolved to the satisfaction of the field owner.

- Provide details of any additional Warranty benefits offered (ie. extended Warranty duration, etc.).

## C.3.8	Acceptance of Base Design

Proponents must provide confirmation that they will accept the base design (see below) for the synthetic turf(s) for which a Proposal is being submitted and that they will be prepared to certify the turf(s) installation providing the base is provided in accordance with the design described in this RFP.  The base is considered to be all base materials and drainage under the synthetic turf surfacing.  A description of the field base on the new field (Field #2 and warm-up area) follows:

- 50 mm of permeable aggregate, over:

- 200 mm of permeable base course aggregate, over:

- Compacted, non-organic subgrade, with:

- Perforated subsurface drains at 4.5 m spacing.

## C.3.10	Turf Product Samples

The City prefers the following samples for each synthetic turf product for which a price is proposed in the Proposal.

Two sets of:

- Synthetic Turf - 150 mm by 150 mm square of each type of synthetic turf proposed.

One set of:

- Drainage/Shock Pad– 300 mm by 300 mm square of each type of pad proposed. Shock pad samples are not required for the pre-approved products.

## C3.11	Environmental Concerns and Opportunities

Confirm the existing synthetic turf system (synthetic turf fibre, backing, infill, adhesives, and all other components) will be recycled as much as facilities exist to do so.  Provide specific locations where each type of material will be taken and disposed of.

Confirm the proposed synthetic turf system (synthetic turf fibre, backing, infill, adhesives and all other components) meets all current Canadian environmental regulations (for public sports field/playground use) with respect to contaminants such as lead and other hazardous materials, in accordance with the Performance Specifications.  Confirm that the synthetic turf system will continue to meet all current Canadian environmental regulations upon installation and throughout the life of the Warranty.

Provide details of any environmentally sustainable or ‘green’ features of the turf system including recycled content, alternate infill material(s) proposed, recyclability of turf system when replaced in future, heavy metal content of fibre, and other relevant information.

## C.3.12	Value-Added Elements

Describe in detail any value-added elements that will provide additional benefits or value to the Owner. Proponents should also describe in this section any potential cost saving measures that might be possible through alternative design standards or Specification modifications.

## C.3.13	Technical Data Sheets

Complete the Technical Data Sheets on the following pages for each product proposed.

- end of page –

SCHEDULE C3-1-TECHNICAL PRODUCT DATA SHEET (Page 1)

Provide the following technical specification information for each Synthetic Turf surfacing system proposed in the Contract.

Product Name:

Product Construction (Check as applicable):

|  | Monofilament |  | Slit Film |
| --- | --- | --- | --- |
|  | Tufted |  | Knitted |

Property 		(Minimum Spec.)  Product Specification   Units		ASTM

Pile Yarn Composition

Minimum Yarn Denier	(per STC)						D1577

Maximum Yarn Denier	(per STC)						D1577

Yarn Breaking Strength	(1.2)					gms./denier	D2256

Yarn Melting Point	(230)			degrees F			D789

Minimum Pile Height	(12)					mm		D418

Maximum Pile Height						mm		D418

Yarn Ends per Stitch								D418

Pile Face Weight (Indicate as applicable):

-Knitted Nylon		(55)					oz./sq. yd	D418

-Tufted Nylon		(48)					oz./sq. yd	D418

-Other Materials		(48)					oz./sq. yd	D418

Primary Backing Wt	(7)					oz./sq. yd	D418

Secondary Backing Wt   (per STC)				oz./sq. yd	D418

Total Weight							oz./sq. yd	D418

Tuft or Stitch Spacing						per inch		D418

Gauge								per inch		D418

Tuft Bind 		(7)					lbs.		D1335

Grab Tear Strength	(per STC)				lbs.		D1682

Impact Attenuation (max):

At Installation	(150)		Gmax				D355

At 12 months	(150)		Gmax				D355

At 24 months	(150)		Gmax				D355

At 48months	(160)		Gmax				D355

At 60 months	(160)		Gmax				D355

At 84 months	(160)		Gmax				D355

At 96 months	(165)		Gmax				D355

Pill Burn Test			(PASS)						D2859

Drainage Rate (including pad)___(250)____________	 	mm/hr		ASTM

Roll Width 	___(15 feet wide)____________			mm/hr		ASTM

Heavy Metal Content of System (attach material safety data sheets)

Note:  The entire synthetic turf system shall meet the minimum performance requirements and specifications outlined in the Synthetic Turf Council’s Guidelines for the Essential Elements of Synthetic Turf Systems-Specifications (‘STC Specifications’).  Any deviations from the STC Specifications must be indicated below or as an attachment.

APPENDIX C3-1-TECHNICAL PRODUCT DATA SHEET (Page 2)

Provide FIH synthetic turf performance test results data for all tests required for Global Standard Class 1 pitches.  Note that certain FIH requirements are included on the Technical Product Data Sheet.  Test results and requirements include turf and pad.  (Formal FIH Global Certification will be required)

| Property | FIH Global Requirements | Results for Proposed Product |
| --- | --- | --- |
| Turf Carpet Type | Unfilled, requiring watering |  |
| Ball rebound (vertical) | Mean 100mm – 400mm |  |
|  | Individual tests < ± 20% from mean |  |
| Ball roll | Mean 9m – 15m |  |
| Ball roll deviation | Max deviation 3 degrees |  |
| Ball to Surface Friction | Static ≥ 0.50 |  |
|  | Dynamic ≥ 0.50 |  |
| Underfoot friction | Coefficient of friction 0.6 – 1.0 |  |
|  | Individual tests < ±0.1 from mean |  |
| Impact response | 40 - 65% |  |
|  | Individual tests < ± 5% from mean |  |
| Pile pad deformation | ≥ 40% |  |
|  | Individual tests < ± 2% from mean |  |
| Pitch smoothness | Deviation ≤ 6mm above or below 3m straight edge. In addition to the above, maximum tolerance for height difference, and gaps or separation at seams is 2 mm. |  |
| Lateral Pitch profile | Design reflects 0% lateral slope/profile. Verification at 10 m intervals required after construction. |  |
| Pitch permeability | ≥ 150mm per hour |  |
| Surface Gloss | Gloss measurement using 85 degree glossmeter to be ≤ 15% |  |
| Surface Colour | Uniform green based on RAL colour chart. |  |

For test procedures refer to the attached International Hockey Federation - Handbook of Performance Requirements for Synthetic Turf Hockey Pitches: http://209.20.80.25/vsite/vfile/page/fileurl/0,,1181-1-1-134902-0-file,00.pdf

SCHEDULE C-4 - PROPONENT’S TECHNICAL PROPOSAL (TIME SCHEDULE)

The City requires the synthetic turf to be installed as follows:

Field #1

Estimated Mobilization on July 15, 2019 completion August 30, 2019

Field #2

Estimated Mobilization on July 15, 2019 completion August 30, 2019

Proponents should provide a preliminary Time Schedule for the Goods and Services, including the range of start dates to which your firm is prepared to commit and anticipated completion dates.  This Time Schedule should work within the timeframes as may be outlined by the City.  Any conflict in the two should be described.  The Time Schedule should include a list of all anticipated meetings with the City and their locations.

The City prefers the preliminary schedule to be provided as a Microsoft Project Gantt chart both in paper and electronically.

Indicate the proposed schedule (in weeks) for the new synthetic turf installation including the proposed sequencing and duration of the turf system manufacture and delivery. Confirm whether the key dates indicated in the RFP can be achieved.

Include a list of all assumptions used in developing the Time Schedule for the Goods and Services as presented in Schedule A – Specifications of Goods and Scope of Services, but not limited to the following:

- Project Meetings

- Design Milestones

- Construction/Installation Milestones

- Equipment and Material Procurement

- Training and Demonstration Periods

- Final Completion of the Goods and Services

The schedule included may be on 11”x17” size sheets.

Proponents may provide a Microsoft Project (or similar) schedule outlining the Critical Path and should include all major phases of the Work and indicate start and substantial completion dates for each (use the spaces provided and/or attach additional pages, if necessary).

| ACTIVITY | SCHEDULE |
| --- | --- |
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |

Proposed Disposal Site:  ________________________________________________

SCHEDULE C-5 - PROPONENT’S FINANCIAL PROPOSAL

1.	FINANCIAL PROPOSAL SUMMARY

| Item | Description | Amount |
| --- | --- | --- |
| A. | Field #1 (existing field turf removal, recycling and replacement of synthetic turf) | $ |
| B. | Field #2 (existing field turf removal, recycling and replacement of synthetic turf) | $ |
| C. | Subtotal (A + B) | $ |
| D. | GST (5% of C) | $ |
| E. | Total Proposal Price (C & D), including GST | $ |

# A.	FIELD #1 (EXISTING FIELD TURF REMOVAL, RECYCLING AND REPLACEMENT OF SYNTHETIC TURF)

Synthetic Turf Product (Name): ______________________________________________

Elastic Layer Product (Name): ______________________________________________

A.	Removal and Recycling/Disposal of Existing

Synthetic Turf, Pad and Related Materials:	$_________________

B. 	Supply and Install Synthetic Turf:	$_________________

C. 	Supply and Install Elastic Layer:	$_________________

D. 	Sub. Total (A + B + C): 	$_________________

(carry this subtotal forward to summary table)

(Note that a separate Product Data Sheet, Product Installation/Reference Sheet and Turf Samples are to be completed for each synthetic turf system for which the Proponent submits a Proposal.)

B.	Field #2 (existing field turf removal, recycling and replacement of synthetic turf)

Synthetic Turf Product (Name):______________________________________________

Elastic Layer Product (Name):______________________________________________

A. 	Removal and Recycling/Disposal of Existing

Synthetic Turf and Related Materials:	$_________________

B. 	Supply and Install Synthetic Turf:	$_________________

C. 	Supply and Install 10mm Elastic Layer:	$_________________

D. 	Sub. Total (A + B + C): 	$_________________

(carry this subtotal forward to summary table)

(Note that a separate Product Data Sheet, Product Installation/Reference Sheet and Turf Samples are to be completed for each synthetic turf system for which the Proponent submits a Proposal.)

C.	NOTE:

    - The separate prices indicated below for each turf field are based on the City awarding one field as a single contract to the Proponent.

    - Proponents are to indicate below, the savings (or extra cost, as the case may be) offered to the City should the City chose to award all two fields to the Proponent as a single contract: $_________________.

SCHEDULE C-5 - PROPONENT’S FINANCIAL PROPOSAL

# 2.	Out of Warranty Work

Provide a base price for out-of-warranty turf repair work assuming an eight hour repair (one day), travel, lodging, meals and any other costs that would be incurred by the City.  Actual costs would be adjusted allowing for inflation (based on prevailing inflation rate in British Columbia), and the actual difference.  The cost of any additional work not indicated below should be pro-rated across the other line items indicated.  Where costs would be applicable, indicate ‘NC’.

| Item | Unit Rate | Unit | Quantity | Cost |
| --- | --- | --- | --- | --- |
| Turf Repair Crew | $ | Per crew hour | 8 hours | $ |
| Superintendent | $ | Per hour | 8 hours | $ |
| Travel (all Crew Members & Superintendent) | LUMP SUM | $ |
| Lodging (Crew & Superintendent) | $ | Per night | 2 nights | $ |
| Meals – Crew/Superintendent | $ | Per day | 2 days | $ |
| Materials – Turf | $ | Per sq. m. | 20 sq. m. | $ |
| Materials – Infill, Glue | $ | Per sq. m. | 20 sq. m. | $ |

Additional Expenses:

The proposed Contract attached as Schedule "B" to the RFP provides that expenses are to be included within the fee, other than the expenses listed in the Contract as disbursements.  Details of disbursements are to be shown in the chart above.  Please indicate any expenses that would be payable in addition to the proposed fee and proposed disbursements set out above:

Payment Terms:

A cash discount of ______% will be allowed if account is paid within _______ days, or the _________ day of the month following, or net 30 days, on a best effort basis.