|  | SCHEDULE B - QUOTATION |
| --- | --- |

RFQ Title:	Supply and Install, Storage Server Expansion and Replacement, NetApp

RFQ No:	1220-040-2022-023

CONTRACTOR

Legal Name:

Contact Person and Title:

Business Address:

Business Telephone:

Business Fax:

Business E-Mail Address:

CITY OF SURREY

City Representative:	Sunny Kaila, Manager, Procurement Services

E-mail for PDF Files:	purchasing@surrey.ca

1.	If this Quotation is accepted by the City, a contract will be created as described in:

(a)	the Agreement;

(b)	the RFQ; and

(c)	other terms, if any, that are agreed to by the parties in writing.

2.	Capitalized terms used and not defined in this Quotation will have the meanings given to them in the RFQ.  Except as specifically modified by this Quotation, all terms, conditions, representations, warranties and covenants as set out in the RFQ will remain in full force and effect.

3.	I/We have reviewed the RFQ Attachment 1 – Agreement – Goods and Services.  If requested by the City, I/we would be prepared to enter into that Agreement, amended by the following departures (list, if any):

Section			Requested Departure(s)

Please State Reason for the Departure(s):

4.	The City requires that the successful Contractor have the following in place before providing the Goods and Services:

- Workers’ Compensation Board coverage in good standing and further, if an “Owner Operator” is involved, personal operator protection (P.O.P.) will be provided,

Workers' Compensation Registration Number ___________________________;

- Prime Contractor qualified coordinator is Name:  _______________

and Contact Number:  _________________________;

- Insurance coverage for the amounts required in the proposed Agreement as a minimum, naming the City as additional insured and generally in compliance with the City’s sample insurance certificate form available on the City’s Website at www.surrey.ca search Standard Certificate of Insurance;

(d)	City of Surrey or Intermunicipal Business License:  Number ________________;

(e)	If the Contractor’s Goods and Services are subject to GST, the Contractor’s GST Number is _____________________________________; and

(f)	If the Contractor is a company, the company name indicated above is registered with the Registrar of Companies in the Province of British Columbia, Canada, Incorporation Number ___________________________________.

As of the date of this Quotation, we advise that we have the ability to meet all of the above requirements except as follows (list, if any):

Requested Departure(s):

Please State Reason for the Departure(s):

5.	The Contractor acknowledges that the departures it has requested in Sections 3 and 4 of this Quotation will not form part of the Agreement unless and until the City agrees to them in writing by initialing or otherwise specifically consenting in writing to be bound by any of them.

Changes and Additions to Specifications:

6.	In addition to the warranties provided in the Agreement, this Quotation includes the following warranties:

7.	I/We have reviewed the RFQ Attachment 1, Schedule A – Specifications of Goods and Scope of Services. If requested by the City, I/we would be prepared to meet those requirements, amended by the following departures and additions (list, if any):

Requested Departure(s)

Please State Reason for the Departure(s):

Fees and Payments

8.	 A cash discount of ____% will be allowed if invoices are paid within ___ days, or the ___ day of the month following, or net 30 days, on a best effort basis. Shipping terms are F.O.B Destination Freight Prepaid

- Section 1 - Expansion of existing storage array

| Part Number | Product | Qty (a) | Grouping Default | Unit Price (b) | Total Amount (a) x (b) |
| --- | --- | --- | --- | --- | --- |
| DS224C |  | 1 |  |  |  |
| X-02659-00 | Rail Kit,4-Post,Rnd/Sq-Hole,Adj,24-32 | 1 | Hardware |  |  |
| DS224C-SL-3.8-24S-QS | SSD SHLF,12G,24x3.8TB,-QS | 1 | Storage |  |  |
| SW-FLASHBNDL-ADD-2P-QS | ONTAP,Per-0.1TB,FlashBundle,Add-On,2P,QS | 912 | Software |  |  |
| X800-42U-R6 | Power Cable,In-Cabinet,C13-C14 | 2 | Hardware |  |  |
| X66031A | Cable,12Gb,Mini SAS HD,1m | 4 | Hardware |  |  |
| Sub-Total (1): (Carry Forward to Price Summary Sheet) |  |

- Section 2 - New storage array

| Part Number | Product | Qty (a) | Grouping Default | Unit Price (b) | Total Amount (a) x (b) |
| --- | --- | --- | --- | --- | --- |
| FAS2720A |  | 1 | A |  |  |
| FAS2720A-005 | FAS2720 HA System,CNA | 2 | A |  |  |
| SW-2-2720A-TPM-C | SW,Trusted Platform Module Enabled,2720A,-C | 2 | Additional Parts and Components |  |  |
| SW-2-2720A-NVE-C | SW,Data at Rest Encryption Enabled,2720A,-C | 2 | Hardware |  |  |
| X6566B-05-N-C | Cable,Direct Attach CU SFP+ 10G,0.5M,-C | 2 | Hardware |  |  |
| X66030A-N-C | Cable,12Gb,Mini SAS HD,0.5m,-C | 2 | Hardware |  |  |
| X66031A-N-C | Cable,12Gb,Mini SAS HD,1m,-C | 4 | Hardware |  |  |
| X800-42U-R6-C | Jumper Crd,In-Cab,C13-C14,-C | 4 | Hardware |  |  |
| SW-DATA-PR-BDL-NLSASF01-C | SW,Data Protection Bdl,Per-0.1TB,NLSAS,F01,-C | 8400 | Hardware |  |  |
| SW-CORE-BNDLE-NLSAS-F01-C | SW,Core Bundle,Per-0.1TB,NLSAS,F01,-C | 8400 | Hardware |  |  |
| DOC-2720-C | Documents,FAS2720,-C | 1 | Hardware |  |  |
| DATA-AT-REST-ENCRYPTION | Data at Rest Encryption Capable Operating Sys | 2 | PS-TM (Services) |  |  |
| FAS2720-104-C | FAS2720,12x10TB,7.2K,-C | 1 | Services |  |  |
| X-02659-00-N-C | Rail Kit,4-Post,Rnd/Sq-Hole,Adj,24-32,-C | 1 | Services |  |  |
| X-02657-00-N-C | Rail Kit,Thin,Rnd/Sq-Hole,4-Post,Adj,24-32,-C | 2 | Services |  |  |
| X66250-2-N-C | Cable,LC-LC,OM4,2m,-C | 8 | Services |  |  |
| X6589-N-C | SFP+Optical 10Gb Shortwave,-C | 8 | Software |  |  |
| CS-4HR-REPLACEMENT | 4hr Parts Replacement | 1 | Software |  |  |
| CS-G1-SE-ADVISOR | SupportEdge Advisor | 1 | Software |  |  |
| FAS2720A-EXP |  | 1 | Software |  |  |
| DS212C-07-10-12B-SK | Disk Shelf,12G,12x10TB,7.2K,-SK | 1 | Storage |  |  |
| DS460C-07-10.0-60B-SK | Disk Shelf,12G,60x10TB,7.2K,-SK | 1 | Storage |  |  |
| CS-4HR-REPLACEMENT | 4hr Parts Replacement | 1 | Storage |  |  |
| CS-G1-SE-ADVISOR | SupportEdge Advisor | 1 | Services |  |  |
| PS-TMS-CONSLT-DAY-ZB | Prepaid Conslt days, PO Exp at 1yr, no refund | 2 | Services |  |  |
| X6566B-2-R6 | Cable,Direct Attach CU SFP+ 10G,2M | 4 | Hardware |  |  |
| Sub-Total (2): (Carry Forward to Price Summary Sheet) |  |

- Section 3 - Installation & Configuration

| Product | Qty | Total Amount |
| --- | --- | --- |
| Expansion of Existing Storage Array | 1 |  |
| New Storage Array | 1 |  |
| Sub-Total (3): (Carry Forward to Price Summary Sheet) |  |

- Miscellaneous Hardware

| Part Number | Product | Qty (a) | Grouping Default | Unit Price (b) | Total Amount (a) x (b) |
| --- | --- | --- | --- | --- | --- |
| 10Gbase-SR | Cisco 10Gbase-SR MMF SFP Modules | 8 | Hardware |  |  |
| Sub-Total (4): (Carry Forward to Price Summary Sheet) |  |

- Price Summary Sheet

| Section | Description | Amount |
| --- | --- | --- |
| 1 | Expansion of Existing Storage Array |  |
| 2 | New Storage Array |  |
| 3 | Installation & Configuration |  |
| 4 | Miscellaneous Hardware |  |
|  | Sub-Total: |  |
|  | Environmental Levies: |  |
|  | BC Sales Tax (7%): |  |
|  | GST (5%): |  |
|  | Total Quotation Price: |  |

Force Account Labour and Equipment Rates:

13.	Contractors should complete the following tables setting out the all-inclusive hourly labour rates including overhead and profit for approved extras/credits for all applicable categories of labour (use the spaces provided and/or attach additional pages, if necessary):

Table 1 – Hourly Labour Rate Schedule For Services:

| Labour Category | Straight Time/hr (Plus GST) | Overtime Rate/hr (Plus GST) |
| --- | --- | --- |
| .1 Technician | $ | $ |
| .2 Foreman | $ | $ |
| .3 Technical Support | $ | $ |
| .4 | $ | $ |
| .5 | $ | $ |
| .6 | $ | $ |

Table 2 – Hourly Equipment Rate Schedule:

| No. | Equipment Description (State) | Hourly Equipment Rate |
| --- | --- | --- |
|  |  | $ |
|  |  | $ |

Time Schedule:

14.	Contractors should provide an estimated schedule, with major item descriptions and times indicating a commitment to provide the Goods and perform the Services within the time specified (use the spaces provided and/or attach additional pages, if necessary).

LEAD TIME __________________________________

MILESTONE DATES __________________________________

| ACTIVITY | SCHEDULE IN ___________ |
| --- | --- |
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |

Experience, Reputation and Resources:

15. 	Provide proof of NetApp Partnership in good standing as well as NetApp Accredited Technical Sales Specialist Level 300 ONTAP:

16. 	Contractor’s relevant experience and qualifications in delivering Goods and Services similar to those required by the Agreement (use the spaces provided and/or attach additional pages, if necessary):

17.	Contractor's references (name and telephone number) (use the spaces provided and/or attach additional pages, if necessary).  The City's preference is to have a minimum of three references.  Previous clients of the Contractor may be contacted at the City’s discretion.

18.	Contractors should identify and provide the background and experience of all key personnel proposed to provide the Goods and Services (use the spaces provided and/or attach additional pages, if necessary):

Key Personnel

| Name: |  |
| --- | --- |
| Experience: |  |
| Dates: |  |
| Project Name: |  |
| Responsibility: |  |

19.	Contractors should identify and provide the background and experience of all sub-contractors and material suppliers proposed to undertake a portion of the Goods and Services (use the spaces provided and/or attach additional pages, if necessary):

| Description of Goods & Services | Sub-Contractors & Material Suppliers Names | Years of Working with Contractor | Telephone Number and Email |
| --- | --- | --- | --- |

20.	I/We the undersigned duly authorized representatives of the Contractor, having received and carefully reviewed the RFQ and the Agreement, submit this Quotation in response to the RFQ.

This Quotation is offered by the Contractor this _______ day of _______________, 202_.

CONTRACTOR

I/We have the authority to bind the Contractor.

| ________________________________________ (Legal Name of Contractor) _________________________________________ (Signature of Authorized Signatory) _______________________________________ (Print Name and Position of Authorized Signatory) | ________________________________________ (Signature of Authorized Signatory) ________________________________________ (Print Name and Position of Authorized Signatory) |
| --- | --- |

# Text boxes

A common sense approach usually resolves the issue.

SAMPLE